## Sheet1
Example of a Financial Justification to Replace An Old Server
Alternative 1: Keep Existing R50 System ("Do Nothing") | [6 empty] | Alternative 2: Replace R50 with 7026-6C1
|  |  | Year | [7 empty] | Year |  |  |  | Assumptions
|  |  | 0 | 1 | 2 | 3 |  |  |  | 0 | 1 | 2 | 3
Hardware | [6 empty] | Hardware
| 7015-R50 (CPU's) | 6 | [5 empty] | Purchase 6C1 | 1 | -21300
| Maintenance |  |  | -7440 | -7440 | -7440 |  | Maintenance |  |  | Warranty | -1200 | -1200
| Salvage Value |  |  |  |  | 0 |  | Salvage Value | 10% |  |  |  | 2130
Software | [6 empty] | Software
| Application | [6 empty] | Application
| Middleware | [6 empty] | Middleware
| Database Maint |  |  | 0 | 0 | 0 |  | Database Maint |  |  | 0 | 0 | 0 | 0 | Database Maintenance, $ per CPU per month
| AIX 4 to 5 Upgrade |  |  |  | -1650 |  |  | AIX 4 to 5 Upgrade | [5 empty] | 275 | per CPU, AIX 4.3 to 5 Upgrade
Facilities | [6 empty] | Facilities
| Site Prep | [6 empty] | Site Prep
| Facilities Upgrade | [6 empty] | Facilities Upgrade
| Power (kw) | 0.72 |  | -504.576 | -504.576 | -504.576 |  | Power (kw) | 0.3 |  | -210.24 | -210.24 | -210.24 | 0.08 | per kwhr
| Cooling |  |  | -504.576 | -504.576 | -504.576 |  | Cooling |  |  | -210.24 | -210.24 | -210.24 |  | Typically same as power
| Floor Space (sq ft) | 14 |  | -840 | -840 | -840 |  | Floor Space (sq ft) | 7 |  | -420 | -420 | -420 | 5 | per sq ft per month
Support | [6 empty] | Support
| Administrator Salary | [6 empty] | Administrator Salary
| Operator Salary | [6 empty] | Operator Salary
| Training | [6 empty] | Training
Business Benefits | [6 empty] | Business Benefits
| Availabilty (%) | 100% |  | 0 | 0 | 0 |  | Availability (%) | 100% |  | 0 | 0 | 0 | 5000 | Cost of Downtime, $/hr
| New Functionality | [6 empty] | New Functionality
Totals |  |  | 0 | -9289.152 | -10939.152 | -9289.152 | Totals |  |  | -21300 | -840.48 | -2040.48 | 89.52
Present Value |  |  | -26793.2635 |  |  |  | Present Value |  |  | -24091.44 |  |  |  | 5% | Cost of Capital
Savings |  |  | 2701.8235 | 10.08%
Note: cash outflows are negative, cash inflows are positive. All costs are "list" price.
Comment:
I've left numerous fields blank because each situation is different
However, some of the blank fields may contain the most justification for replacement or justification. Here are a few examples…..
Database Maint: Some vendors charge up to $500 per CPU per month. New servers require fewer cpu's for the same performance, which reduces maintenance costs
Facilities Upgrade: if your data center is running short of floor space, power or cooling, you can avoid an expensive facilities upgrade by consolidating.
Availability: as hardware ages, it becomes less reliable. On the other hand, newer pSeries models have better reliability than previous models.
(For example, try 99.9% availability for the R50, and 99.925% for the 6C1)
This example shows a 1:1 server replacement. This doesn't work in all cases, and you may need to consolidate multiple servers to justify. However the mechanics and benefits are the similar.
Assumptions
1 | Replacement server has comparable TPC-C performance
2 | AIX 4 to 5 Upgrade Cost: Support for AIX 4 will be withdrawn 12/2003
3 | List prices as of 4/2002