## Read Me
Read Me
Server Consolidation Spreadsheet
1999-08-03
Overview
The purpose of this spreadsheet is to estimate cost savings through consolidating the number of computer servers.
The benefit of this spreadsheet is that it is vendor neutral and "relatively" simple to use.
This spreadsheet was created for an advanced finance MBA class project. It does not necessarily
reflect the view of my employer.
The spreadsheet a starting point for the server consolidation, and not an end point.
You should use your numbers in the analysis, as every situation is different.
Also be aware that this spreadsheet involves only financial considerations. The decision to consolidate servers
should also include an analysis of business needs, political realities, and technical feasibility.
Using the Spreadsheet
As each situation is different, you should modify the cost assumptions to be relevant for your installation.
The hypothetical example, while accurate, probably does not reflect your installation.
You should insert your numbers on the Assumptions page. This data on this page "feeds" the rest of the
spreadsheet. For most cases, you do not have to modify any other pages. The one exception would be
depreciation of existing equipment. You'll have to enter that on the Current Costs page.
The spreadsheet outputs two financial criteria: IRR and present value. They are calculated at the bottom of the
Results page, and "linked" (copied) at the bottom of the Assumptions page.
In the example, I've assumed IBM RS/6000 servers only because I had access to this pricing information.
Your analysis should consider all servers platforms, including UNIX, NT, Novel, etc.
Conclusions
Server consolidation is not financially justifiable in all circumstances. The best server consolidation candidates
are generally those where five or more servers can be consolidated into one. The savings in hardware maintenance
alone will often pay for the new server.
The most important cost drivers in server consolidation are:
Administrator costs
Hardware maintenance costs
Environmental (electricity, HVAC, floor space)
The are many other important factors that are difficult to quantify.
Need to expand building floorspace, HVAC and/or power supply to support server growth
Y2K upgrades
Withdrawel of vendor support
High Availability
Benefits of data consolidation
Benefits of consolidation on backup/restore.
The savings from server consolidation can be high. In the hypothetical example, the payback on the
server consolidation investment way about 1.5 years, with a Return on Investment of about 50%.
This result was calculated with many of the fields empty (ie savings by reducing software licenses).
And if intangible benefits are added in, the return can be extremely high.
Every computer installation is unique, and this analysis does not address all situations. You should verify
the results of this spreadsheet in the context of your situation.
Recommendations
The use of this spreadsheet is a good first step in the server consolidation analysis. The next step depends
on your situation. More thorough studies available are from consultants and computer vendors. IBM uses
the "ALIGN" methodology. In addition to financial considerations, the ALIGN methodology includes
networking, application consolidation, data consolidation, workload balancing and others in the analysis.
Bruce Spencer
1999-08-01
baspence@us.ibm.com
References
RS/6000 Site Planning Guides (Floor space, electricity, HVAC): http://www.rs6000.ibm.com/resources
Numerous web sites: search on "cost of ownership ROI computer"

## Assumptions
Assumptions: Server Consolidation Cost of Ownership
Bruce Spencer
GMAN Finance 314 |  |  | 1999-01-19
Hypothetical Example:
The assumptions on this page are based on the consolidating 5 R30's into 1 H70.
R30 Configuration: includes 2-1GB internal disk, 8mm tape, CD, 7133-500 Disk subsystem
H70 configuration: 4 CPUs, 3 GB memory, 18 GB internal disk, 72 GB SSA Disk, 2 10/100 EtNet, 8mm tape, S00 rack, ASCII console
Tape: in absense of configuration data, assume reuse existing backup infrastructure.
H70 sizing: The 5 to 1 consolidation is based on maintaining the same relative OLTP performance.(TPC-C)
Pricing: All hardware prices are "list." Hardware discounts will favor consolidation.
Reliability: assumed new equipment improves availability from 99.9 to 99.925%
Operation: 7x24
Administration costs: assume cost of operators and system administrators are directly proportional to the number of systems.
In a microscopic view, administration costs are a step function. In the big picture, they are a variable cost. I chose the "big picture."
Modify this page appropriate to your situation.
With the exception of depreciation on the current install base, all cost/savings changes should be made on this page
Note: Copy of Results and Sensitivity Analysis are located at the bottom of this page
|  |  |  | Current Installation |  |  | Proposed Consolidation
|  |  |  | Assumptions | One Time Cost | Annual Cost | Assumptions | One Time Cost | Annual Cost
Hardware
Current Install Base
|  | Number of Servers |  | 5
|  | Accounting Book Value |  | 0
|  | Salvage Value |  | 25000
|  | Aggregate Performance of Servers |  | 60.5
|  | Average Server Utilization |  | 70%
|  | Minimum Required Performance of New Server |  |  |  |  | 42.35
Estimated Number of Replacement Servers
|  | Performance/system |  |  |  |  | 56.7
|  | Target Utilization for New Systems |  |  |  |  | 75%
|  | Estimated Number of Replacement Servers Based on Req'd Perf |  |  |  |  | 0.99588
|  | Replacement Servers: Rounded up to Integer Value |  |  |  |  | 1
Site Preparation
|  | HVAC | [5 empty] | 0
|  | Electrical | [5 empty] | 1000
|  | Network | [5 empty] | 1000
|  | Floor Space | [5 empty] | 1000
|  | Total Cost: Site Prep | [5 empty] | 3000 | 0
Server Acquisition Costs
Purchase New Equipment
|  |  | Purchase Price |  |  |  |  | 163524
|  |  | Local Sales Tax |  |  |  | 8% | 13081.92
|  | Less: Salvage Value of Existing Systems | [5 empty] | -25000
|  | Total Purchase | [5 empty] | 151605.92 | 0
Environmental Costs
|  | Annual Hours of Operation |  | 8544 |  |  | 8544
Annual Cost of Floor Space
|  |  | Floor space (Sq. Ft/Server) | 14.2021 |  |  | 14.2021
|  |  | Charge Rate ($/SqFt-Month) | 15 |  |  | 15
|  |  | Total Annual Cost of Floor Space |  |  | 12781.875 |  |  | 2556.375
Annual Electricity Cost
|  |  | Usage Rate (kw/hr-server) | 1.22 |  |  | 1.016
|  |  | Cost of Electricity ($/kw-hr) | 0.1115 |  |  | 0.1115
|  |  | Total Annual Cost of Electricity |  |  | 5811.2016 |  |  | 967.8985
Annual HVAC Cost
|  |  | Unit HVAC Cost ($/MillionBTU) | 32.67 |  |  | 32.67
|  |  | Total Annual Cost of HVAC |  |  | 5811.3428 |  |  | 967.922
|  | Total Environmental Costs |  |  | 0 | 24404.4194 |  | 0 | 4492.1955
Operations
Direct Costs
Annual Operator Costs
|  |  | Maximum Servers/Operator | 48 |  |  | 48
|  |  | Annual Operator Salary | 60000 |  |  | 60000
|  |  | Total Operator Costs |  |  | 6250 |  |  | 1250
Annual Sys. Admin Costs
|  |  | Maximum Servers/Administrator | 16 |  |  | 12
|  |  | Annual Sys Admin Salary | 100000 |  |  | 100000
|  |  | Total Administrator Costs |  |  | 31250 |  |  | 8333.3333
Network Costs
Administrators
Indirect Costs
Management
|  | Total Operations Costs |  |  | 0 | 37500 |  | 0 | 9583.3333
Hardware Maintenance
Annual Hardware Maintenance
|  |  | Monthly Maintenance per Server | 1077 |  |  | 764
|  |  | Total Annual Maintenance |  |  | 64620 |  |  | 9168
|  | Total Hardware Maintenance |  |  | 0 | 64620 |  | 0 | 9168
Reliability, Availability, Serviceability
|  | Reliability (Uptime) |  | 99.9% |  |  | 99.92%
|  | Annual Downtime (Hours) |  | 8.544 |  |  | 6.408
Cost of Downtime
|  |  | Total Number of End Users | 200 |  |  | 200
|  |  | Cost of Downtime per user | 25 |  |  | 25
|  |  | Total Annual Cost of Downtime |  |  | 42720 |  |  | 32040
|  | Total Downtime Costs |  |  | 0 | 42720 |  | 0 | 32040
Software
Installation Costs
|  | Data Migration, Conversion,…. |  |  | 0 |  |  | 5000
|  | Upgrades, New Software |  |  | 0 |  |  | 5000
|  | Total Installation Costs |  |  | 0 | 0 |  | 10000 | 0
Application Software Costs
Annual License Costs
|  | Total Appl Software Costs |  |  | 0 | 0 |  | 0 | 0
AIX Supportline Cost
|  | Annual cost per server per month |  | 582 |  |  | 249
|  | Annual SupportLine Costs |  |  |  | 931.2 |  |  | 249
|  | Total Annual SupportLine Cost |  |  | 0 | 931.2 |  | 0 | 249
Function Costs (Quality Improvements)
Cost of Y2K Compliance on Current Systems
Less: Functionality Improvements (savings = negative cost)
|  | Total Function Costs |  |  | 0 | 0 |  | 0 | 0
Financial Information
[6 empty] | Annual Costs |  | One Time Cost | Annual
| WACC |  |  | 15%
Weighted Cost of Capital
| Corporate Tax Rate |  |  | 38%
Cost of Ownership
|  | Project Life (Years) |  | 5
|  | Risk Adjusted ROI Hurdle Rate |  | 15%
Tax Effects
|  | Decpreciation Method: |  | MACRs, 5 Year
Depreciation Base
|  |  | Site Preparation | [5 empty] | 3000
|  |  | Hardware Purchase (less sales tax) | [5 empty] | 163524
|  |  | Total Depreciation Base |  |  | 0 |  |  | 166524
|  | Tax Deductable Expenses |  |  |  | Annual |  | One Time (Yr 1) | Annual
|  |  | Sales Tax |  |  | 0 |  | 13081.92
|  |  | Envrionment (Electricity, HVAC) |  |  | 24404.4194 |  |  | 4492.1955
|  |  | Operations (salaries) |  |  | 37500 |  |  | 9583.3333
|  |  | Hardware Maintenance (1 Yr Warranty on New HW) |  |  | 64620 |  |  | 9168
|  |  | Software Installation/Migration |  | 0 |  |  | 10000
|  |  | Application Support |  |  | 0 |  |  | 0
|  |  | AIX Supportline |  |  | 931.2 |  |  | 249
|  |  | Total Deductions |  |  | 127455.6194 |  | 23081.92 | 23492.5289
Capital Gains on Sale of Existing Equipment
|  |  | Salvage Value | 25000
|  |  | Less Book Value | 0
|  |  | Gain(Loss) | 25000
Results
From Results page:
|  |  | Incremental Return on Investment (IRR) | 47.49%
|  |  | Net Present Value | 137271.2767
Sensitivity Analysis
|  |  | Effect of Purchase Price on ROI | Price | ROI
|  |  | Discount |  | 47.49%
|  |  | 0% | 151605.92 | 47.49%
|  |  | 10% | 136445.328 | 53.15%
|  |  | 20% | 109156.2624 | 73.58%
|  |  | 30% | 76409.3837 | 132.9%
|  |  | Effect of Sys Admin Salary + Benefits | Salary | ROI
47.49%
|  |  |  | 120000 | 49.55%
|  |  | Assumed | 100000 | 47.49%
|  |  |  | 80000 | 45.41%
|  |  |  | 60000 | 43.31%
|  |  | Effect of Software Install/Migrate Costs | SW Install | ROI
47.49%
|  |  | Assumed | 10000 | 47.49%
|  |  |  | 25000 | 43.29%
|  |  |  | 50000 | 37.37%
|  |  |  | 75000 | 32.46%
|  |  |  | 100000 | 28.31%
|  |  | Effect of Function Costs (or Quality Improvements) | Ann Savings | ROI
47.49%
|  |  | Assumed | 0 | 47.49%
|  |  |  | 10000 | 54.68%
|  |  |  | 20000 | 61.71%
|  |  |  | 30000 | 68.59%
|  |  |  | 40000 | 75.37%
Note on C31: Combined performance of all systems. Must use benchmark that is relevant for your installation: TPC-C TPC-D SpecMark Webmark etc
Note on C122: S/W charges are often based per servers. Reducing the number of servers reduces software costs
Note on C134: Example: new application function that improves productivity, data sharing. (Enter as a negative number: Cost = -Savings)
Note on C104: Newer systems are more reliable. In this case, assume a 0.025% increase in availability
Note on E98: CPU+Rack+Disk+tape+SSA
Note on C70: Assume "electricity in" = "heat out"
Note on E66: Bruce Spencer: CPU+7133-500 SSA disk
Note on I66: Bruce Spencer: CPU + 7133-D40 SSA
Note on E127: R30 7x24 Support: 1st server = 582 add servers =85% discount
Note on I127: H70 7x24 Support 1st server $249 85% discount on add servers
Note on I84: Assume administrators of consolidated system can manage fewer systems because these systems have more applications.
Note on D85: Base salary + benefits ( 28%)
Note on D80: Base salary + benefits (28%)

## Current Costs
Cost of Ownership Analysis of Existing Installation
Year |  | Initial OTC | 1 | 2 | 3 | 4 | 5
Costs
Hardware
| Site Preparation | 0
| Server Acquisition Costs | 0
| Environmentals (Elect, HVAC, Floor) |  | 24404.4194 | 24404.4194 | 24404.4194 | 24404.4194 | 24404.4194
| Operations/Administration |  | 37500 | 37500 | 37500 | 37500 | 37500
| Hardware Maintenance |  | 64620 | 64620 | 64620 | 64620 | 64620
| Reliability, Availability, Serviceability |  | 42720 | 42720 | 42720 | 42720 | 42720
| Salvage Value (Book Value) | [5 empty] | 0
Software
| Installation Costs | 0
| Application Software Costs |  | 0 | 0 | 0 | 0 | 0
| AIX Supportline Cost |  | 931.2 | 931.2 | 931.2 | 931.2 | 931.2
| Functional Improvements |  | 0 | 0 | 0 | 0 | 0
Total Costs, Before Tax |  | 0 | 170175.6194 | 170175.6194 | 170175.6194 | 170175.6194 | 170175.6194
Tax Effects
Depreciation
| Depreciation Base |  | 0 | 0 | 0 | 0 | 0
MACRS 5Year %
| Depreciation |  | 0 | 0 | 0 | 0 | 0
One Time Expense (Sales Tax)
| Annual Expenses |  | 127455.6194 | 127455.6194 | 127455.6194 | 127455.6194 | 127455.6194
| Subtotal (Depreciation + Expenses) |  | 127455.6194 | 127455.6194 | 127455.6194 | 127455.6194 | 127455.6194
| Tax Savings |  | 48433.1354 | 48433.1354 | 48433.1354 | 48433.1354 | 48433.1354
Capital Gains
After Tax Costs
| Total Cost - Tax Savings | 0 | 121742.4841 | 121742.4841 | 121742.4841 | 121742.4841 | 121742.4841

## Consolidation Costs
Cost of Ownership Analysis After Consolidation
Year |  | Initial OTC | 1 | 2 | 3 | 4 | 5
Costs
Hardware
| Site Preparation | 3000
| Server Acquisition Costs | 151605.92
| Environmentals (Elect, HVAC, Floor) |  | 4492.1955 | 4492.1955 | 4492.1955 | 4492.1955 | 4492.1955
| Operations/Administration |  | 9583.3333 | 9583.3333 | 9583.3333 | 9583.3333 | 9583.3333
| Hardware Maintenance |  | 0 | 9168 | 9168 | 9168 | 9168 | (1 Year Warranty)
| Reliability, Availability, Serviceability |  | 32040 | 32040 | 32040 | 32040 | 32040
| Salvage Value (=Book Value) | [5 empty] | -8732.501 | (income = negative cost)
Software
| Installation Costs | 10000
| Application Software Costs |  | 0 | 0 | 0 | 0 | 0
| AIX Supportline Cost |  | 249 | 249 | 249 | 249 | 249
| Functional Improvements |  | 0 | 0 | 0 | 0 | 0
Total Costs, Before Tax |  | 164605.92 | 46364.5289 | 55532.5289 | 55532.5289 | 55532.5289 | 46800.0279
Tax Effects
Depreciation
| Depreciation Base |  | 151605.92 | 151605.92 | 151605.92 | 151605.92 | 151605.92
| MACRS 5Year % |  | 20% | 32% | 19.2% | 11.52% | 11.52%
| Depreciation |  | 30321.184 | 48513.8944 | 29108.3366 | 17465.002 | 17465.002
| One Time Expenses (Sales Tax) |  | 23081.92
| Annual Expenses |  | 23492.5289 | 23492.5289 | 23492.5289 | 23492.5289 | 23492.5289
| Subtotal (Depreciation + Expenses) |  | 76895.6329 | 72006.4233 | 52600.8655 | 40957.5308 | 40957.5308
| Tax Savings |  | 29220.3405 | 27362.4408 | 19988.3289 | 15563.8617 | 15563.8617
Capital Gains Tax on Sale of Existing Equipment
| Capital Gains |  | 25000
| Tax Effect on Gain/Loss |  | 9500
After Tax Costs
| Total Cost - Tax Savings + CapGainTax | 164605.92 | 26644.1884 | 28170.088 | 35544.2 | 39968.6671 | 31236.1661

## Results
Financial Results: Cost Savings After Consolidation
Differential Costs = "Current Costs" - "Consolidation Costs"
ROI and PV results are at the bottom of this page
Year |  | Initial OTC | 1 | 2 | 3 | 4 | 5
Differential Costs (or Cost Savings After Consolidation)
Hardware
| Site Preparation | -3000 | 0 | 0 | 0 | 0 | 0
| Server Acquisition Costs | -151605.92 | 0 | 0 | 0 | 0 | 0
| Environmentals (Elect, HVAC, Floor) |  | 19912.2239 | 19912.2239 | 19912.2239 | 19912.2239 | 19912.2239
| Operations/Administration |  | 27916.6667 | 27916.6667 | 27916.6667 | 27916.6667 | 27916.6667
| Hardware Maintenance |  | 64620 | 55452 | 55452 | 55452 | 55452
| Reliability, Availability, Serviceability |  | 10680 | 10680 | 10680 | 10680 | 10680
| Book Value of New Hardware | 0 | 0 | 0 | 0 | 0 | 8732.501
Software
| Installation Costs | -10000
| Application Software Costs |  | 0 | 0 | 0 | 0 | 0
| AIX Supportline Cost |  | 682.2 | 682.2 | 682.2 | 682.2 | 682.2
| Functional Improvements |  | 0 | 0 | 0 | 0 | 0
Diferential Savings, Before Tax |  | -164605.92 | 123811.0906 | 114643.0906 | 114643.0906 | 114643.0906 | 123375.5916
Differential Tax Effects
Depreciation
Depreciation Base
MACRS 5Year %
| Depreciation | 0 | -30321.184 | -48513.8944 | -29108.3366 | -17465.002 | -17465.002 | (savings = negative cost)
| One Time Expenses (Sales Tax, Install,..,) |  | -23081.92
| Annual Expenses | 0 | 103963.0906 | 103963.0906 | 103963.0906 | 103963.0906 | 103963.0906
| Subtotal (Depreciation + Expenses) | 0 | 50559.9866 | 55449.1962 | 74854.754 | 86498.0886 | 86498.0886
| Tax Savings | 0 | 19212.7949 | 21070.6946 | 28444.8065 | 32869.2737 | 32869.2737
Capital Gains Tax on Sale of Existing Equipment
Capital Gains
| Tax Effect of Gain/Loss on Sale of Old Servers |  | 9500
Differential Savings After Tax
| Total Cost - Tax Savings | -164605.92 | 95098.2957 | 93572.396 | 86198.2841 | 81773.8169 | 90506.3179
Bottom Line: Financial Results
After Tax Financial Results
| Internal Rate of Return | 47.49%
| Net Present Value | 137271.2767 | @ | 15%
Note: see sensitivity analysis at the bottom of the Assumptions page.

## Other Considerations
There are many intangible or difficult to quantify variables in server consolidation. Even if your financial analysis is below
your company's hurdle rate, or ROI, the intangible benefits will often justify the project.
Here are a few considerations that fall into this category:
| 1 | Y2K avoidance. Upgrading to current levels may avoid Y2K issues associated with older software.
| 2 | Improved utilization of the consolidated server. Many departmental servers are under utilized. Combining these
workloads on a single server can maximize utilization. See AIX 4.3.3 workload management announcement 8/99
| 3 | Software licensing: software licenses are often based on the number of servers. Reducing the number of servers
can reduce the annual software licensing fees.
| 4 | Availability: New hardware and software reliability continue to improve with time. Old hardware reliability declines with age.
Availability should be higher with new server hardware and software.
| 5 | Functionality: hardware and software continually add new functions. These functions can improve productivity and reduce costs
| 6 | Floor space: if your data center is near capacity (floor space, HVAC, electricty), the addition of a new server may require
the purchase of a new building, power/UPS systems or additional cooling systems. The cost of any one of these
system could justify consolidation.

## R-OLTP
Historical RS/6000 Performance Data Reference
The following table summarizes the relative OLTP performance for most RS/6000 servers.
The performance numbers are the maximum for the model. You should scale the numbers
for your system based on number of CPU's, memory and disk.
| Model | R-OLTP
| 7009-C10 | 1.8
| 7009-C20 | 2.6
| 7011-25S | 1
| 7011-25T | 1
| 7011-25W | 1
| 7012-32H | 0.5
| 7012-360 | 1.5
| 7012-370 | 2
| 7012-390 | 4.3
| 7012-39H | 4.4
| 7012-G30 | 7
| 7012-G40 | 10.9
| 7013-570 | 2
| 7013-580 | 2.2
| 7013-58H | 3.2
| 7013-590 | 3.9
| 7013-591 | 4.5
| 7013-595 | 5.8
| 7013-59H | 4.4
| 7013-J30 | 12.1
| 7013-J40 | 19.2
| 7013-J50 | 28.5
| 7015-990 | 4
| 7015-99J | 4
| 7015-99K | 4
| 7015-R10 | 1.5
| 7015-R20 | 4.4
| 7015-R21 | 4.5
| 7015-R24 | 4.9
| 7015-R30 | 12.1
| 7015-R3U | 12.1
| 7015-R40 | 19.2
| 7015-R50 | 30.6
| 7017-S70 | 60.5
| 7017-S7A | 113.8
| 7024-E20 | 2.5
| 7024-E30 | 4.7
| 7025-F30 | 4.7
| 7025-F40 | 5.2
| 7025-F50 | 32.8
| 7026-H10 | 4.2
| 7026-H50 | 32.8
| 7026-H70 | 56.7
| 7043-140 | 3.9
| 7043-150 | 6
| 7043-240 | 5.2
| 7043-260 | 21
| 7248-100 | 1.5
| 7248-120 | 1.9
| 7248-132 | 2.1
| 9076-303 | 5.8
| 9076-309 | 30.6
| 9076-500 | 32.8
| 9076-550 | 32.8
| 9076-55H | 19.2